# Decision 19:  tunnel depth

## What are the options?

There are also two options:

- The tunnel(s) are quite deep and hence made with a tunnel boring machine.

- The tunnel(s) are shallow and hence constructed primarily by cut and cover.  For this case, two tunnels is actually a single tunnel with a long support building on the surface.

## Pros and cons of deep vs. shallow

Cost: favors shallow. Cut and cover construction is cheaper.  We do not have detailed numbers.  The cost difference will be highly site dependant.

Ease of finding site: favors deep.  Sites with right topology and bareness are few and far between.  This problem is eased somewhat if can have vertical bends in the linac.

## Recommendation for the BCD

This is too site dependant.  Carry both deep and shallow options until the site is selected.